ARTSY-J: Convenient and precise measurement of 3JHNH couplings in medium-size proteins from TROSY-HSQC spectra

- Julien Roche*, Jinfa Ying*, Yang Shen, Dennis A. Torchia and Ad Bax

Laboratory of Chemical Physics, National Institute of Diabetes and Digestive and Kidney Diseases, National Institutes of Health, Bethesda, MD 20892, USA

* These authors contributed equally

Supplementary Information

Details regarding the explicit form of EQ. (5), main text.

M(t)=A(t)M(0)where,A=e−Rtwe write R asR=R'+R2IwhereR'=0πJ−πJR1αI=1001next we use a similarity transform to diagonalize R' according toD=UR'U−1where D is the diagonal matrix of eigenvalues of R', λ±, given byD=λ+00λ−, λ±=(R1α±iω)2, ω2=4π2J2−R1α2in terms of these quantities A(t) becomesA(t)=exp(−Rt)=exp(−R2t)U−1exp(−Dt)U=a11a12a21a22wherea11=0.5exp(−R2t)r−exp(−λ−t)+r+exp(−λ+t)a22=0.5exp(−R2t)r+exp(−λ−t)+r−exp(−λ+t)a12=0.5(iπJω)exp(−R2t)exp(−λ−t)−exp(−λ+t)=−a21r±=(1±iR1αω)note that the intensity ratio (IBIA) and the scale factor c used to correct Jeff(discussed in the text) are independent of R2because exp(-R2t) enters the expression for M(t)as the same multiplicative factor in the presence and absence of refocusing pulses.

Table S1. JHNH values derived from ARTSY-J measurement (800 MHz, d = 40 ms, unscaled values) for GB3 (1.2 mM, 298 K). A scaling factor of 1.06 brings the JHNH values close to those predicted by the Karplus equation.

| Residue | 3JHNH (Hz) |
| --- | --- |
| Y3 | 9.44 |
| K4 | 9.14 |
| L5 | 9.17 |
| V6 | 9.42 |
| I7 | 9.23 |
| N8 | 9.60 |
| G9 | 8.55 |
| K10 | 5.06 |
| T11 | 9.90 |
| L12 | 7.72 |
| K13 | 9.15 |
| G14 | 5.53 |
| E15 | 8.07 |
| T16 | 6.57 |
| T17 | 8.60 |
| T18 | 6.55 |
| K19 | 8.91 |
| A20 | 7.35 |
| V21 | 4.12 |
| D22 | 6.67 |
| A23 | 3.04 |
| E24 | 3.89 |
| A26 | 3.85 |
| E27 | 3.40 |
| K28 | 3.88 |
| A29 | 4.83 |
| F30 | 4.82 |
| K31 | 4.16 |
| Q32 | 4.95 |
| Y33 | 3.23 |
| A34 | 3.80 |
| N35 | 3.91 |
| D36 | 3.90 |
| N37 | 8.90 |
| G38 | 7.72 |
| V39 | 8.88 |
| D40 | 8.34 |
| G41 | 6.28 |
| V42 | 8.59 |
| W43 | 8.41 |
| T44 | 8.64 |
| Y45 | 9.25 |
| D46 | 9.74 |
| D47 | 4.06 |
| A48 | 4.32 |
| T49 | 9.60 |
| K50 | 7.20 |
| T51 | 9.74 |
| F52 | 9.11 |
| T53 | 9.14 |
| V54 | 9.48 |
| T55 | 9.74 |
| E56 | 8.28 |

Table S2. JHNH values derived from ARTSY-J measurement (900 MHz, d = 30 ms, unscaled values) for HIV-1 Protease (0.15 mM dimer, 298 K).  A scaling factor of 1.13 brings the JHNH values close to those predicted by the Karplus equation (Fig. 5).

| Residue | 3JHNH (Hz) |
| --- | --- |
| Q2 | 8.45 |
| V3 | 8.23 |
| K7 | 8.90 |
| R8 | 3.86 |
| L10 | 7.36 |
| V11 | 8.22 |
| T12 | 6.98 |
| I13 | 8.92 |
| K14 | 8.88 |
| I15 | 7.51 |
| G16 | 5.68 |
| G17 | 7.47 |
| Q18 | 8.86 |
| L19 | 7.18 |
| K20 | 7.73 |
| E21 | 8.03 |
| A22 | 7.87 |
| L23 | 6.49 |
| T26 | 3.19 |
| G27 | 6.87 |
| A28 | 8.63 |
| D29 | 3.94 |
| V32 | 8.14 |
| I33 | 8.80 |
| E34 | 8.34 |
| M36 | 5.77 |
| S37 | 7.38 |
| L38 | 8.16 |
| G40 | 8.04 |
| R41 | 6.69 |
| W42 | 8.69 |
| K43 | 9.54 |
| K45 | 8.09 |
| M46 | 9.03 |
| I47 | 9.22 |
| G48 | 7.20 |
| G49 | 6.69 |
| G52 | 7.37 |
| F53 | 7.75 |
| I54 | 8.79 |
| K55 | 7.27 |
| V56 | 8.98 |
| R57 | 8.21 |
| Q58 | 5.77 |
| Y59 | 8.88 |
| D60 | 7.59 |
| Q61 | 6.52 |
| I62 | 7.95 |
| I63 | 6.10 |
| I64 | 8.84 |
| E65 | 8.62 |
| I66 | 7.95 |
| A67 | 5.94 |
| G68 | 7.23 |
| H69 | 8.26 |
| K70 | 5.42 |
| A71 | 8.03 |
| G73 | 5.05 |
| T74 | 5.86 |
| V75 | 9.01 |
| L76 | 7.06 |
| V77 | 8.23 |
| G78 | 4.19 |
| T80 | 7.96 |
| V82 | 8.08 |
| N83 | 6.26 |
| I84 | 8.26 |
| I85 | 7.85 |
| G86 | 8.19 |
| R87 | 8.70 |
| N88 | 9.12 |
| L89 | 9.69 |
| L90 | 4.46 |
| T91 | 8.13 |
| Q92 | 5.32 |
| I93 | 8.75 |
| G94 | 6.93 |
| T96 | 8.51 |
| L97 | 7.91 |
| F99 | 5.63 |

Bruker pulse sequence code

#include <Avance.incl>

#include <Grad.incl>

#include <Delay.incl>

#define H f1

#define N f3

#define D f5

#define C1 f2

#define C2 f2

; TROSY with J-dephasing in the beginning, followed by ST2PT from H to N

; For quantitative measurement of JHH in medium size proteins

; Reference and attenuated spectra are interleaved

; Obtain JHH coupling from the intensity ratio of the two experiments

;#define TS2  ;comment this out for Topspin3.x

#define HA_DEC_ON

"l0=1"

"p2=p1*2"

"p4=p3*2"

"p22=p21*2"

"d13=4u"

"d26=1s/(cnst4*4)"

;"d28=40m"   ;total 3JHNHA evolution time in the attenuated experiment

"d11=30m"

"d16=200u"

"d0=10u"

"in0=inf1*0.5"

"DELTA1=d26-4u-d16"

#ifdef HA_DEC_ON

"p17=1.05m"

"p18=0.95m"

"DELTA2=p18+d0*2+d16+p14+p1*4.6+26u-p17"

#else

"p17=0.95m"

"p18=1.05m"

"DELTA2=p18+d0*2+d16+p4*2+26u-p17"

#endif

"DELTA3=2.3m-d16-13u-p11"

"d19=p19+8u+d16+p1*0.365+de"

"DELTA4=d26-d16-10u-p27"

;p1*1.27+d16 must be equal to d15+p21, for refocusing 1H c.s. evolution:

"d15=d16+p1*1.27-p21"

;total JHH evolution in the attenuated experiment must be equal to d28:

;d28=DELTA5*2+DELTA6*2+p12*2+DELTA1*2+d16*5+d15+p21*3-p1*4.6+p1*1.27

;JHH must be refocused in the reference experiment:

;DELTA6*2+p12*2=DETAL5*2+DELTA1*2+d16+d15+p21*3-p1*4.6+p1*1.27-4u

;Solving the above two equations yields:

"DELTA5=d28*0.25-d16*1.5-d15*0.5-DELTA1-p21*1.5+p1*1.665-2u"

"DELTA6=d28*0.25-p12-d16-4u"

1       ze

d11 pl12:C2

2       d11 do:C2

1m LOCKH_OFF

3       d1 pl1:H pl2:C2 pl3:N

;------- start 90-degree on hn -----------------------

10u UNBLKGRAD

(p21 ph0):N

4u

DELTA1 gron10

d16 groff

(center (p2 ph0):H (p22 ph0):N)

4u

DELTA1 gron10

d16 groff

(p21 ph13):N

4u

p16:gp2

d16

(p1 ph2):H

4u

DELTA5 gron7

d16 groff

if "l0%2==1"

{

(p12:sp2 ph5):H

4u

DELTA6 gron8

d16 groff

(p12:sp3 ph5):H ;dummy pulse (119dB and 50ppm offset)

(3u 3u pl1 p1*0.97 ph0 p1*2.6 ph11:r p1*1.03 ph0 3u 3u pl0):H

(p12:sp3 ph6):H ;dummy pulse (119dB and 50ppm offset)

4u

DELTA6 gron8

d16 groff

(p12:sp2 ph6):H

}

else

{

(p12:sp3 ph5):H ;dummy pulse (119dB and 50ppm offset)

4u

DELTA6 gron8

d16 groff

(p12:sp2 ph5):H

(3u 3u pl1 p1*0.97 ph0 p1*2.6 ph11:r p1*1.03 ph0 3u 3u pl0):H

(p12:sp2 ph6):H

4u

DELTA6 gron8

d16 groff

(p12:sp3 ph6):H ;dummy pulse (119dB and 50ppm offset)

}

4u

DELTA5 gron7

d15 groff

(p21 ph1):N

4u pl1:H

DELTA1 gron0      ;DELTA1=d26-4u-d16

d16 groff

(center (p1*0.97 ph0 p1*2.6 ph11:r p1*1.03 ph0):H (p22 ph0):N)

4u

DELTA1 gron0

d16 groff

(p1 ph1):H (p21 ph0):N

4u

DELTA1 gron1

d16 groff

(center (p1*2 ph0):H (p22 ph0):N)

4u

DELTA1 gron1

d16 groff

(p1 ph0):H

;goto 999

4u

p17:gp3*EA

DELTA2     ;DELTA2=p18+d0*2+d16+p14+p1*4.6+26u-p17

(p22 ph7):N

d0

#ifdef HA_DEC_ON

(center (p4 ph0 6u p4:sp8 ph0):C1 (p14:sp4 ph0 3u 3u pl1 p1*0.97 ph0 p1*2.6 ph11:r p1*1.03 ph0):H)

#else

(p4 ph0 6u p4:sp8 ph0):C1

#endif

4u

p18:gp3*-1*EA

d16

d0*0.5 gron4

10u groff

d0*0.5 gron4*-1

10u groff

(p1 ph4):H

3u

3u pl0:H

(p11:sp0 ph14:r):H

;goto 999

4u

DELTA3 gron5  ;DELTA3=2.2m-d16-13u-p11

d16 groff

3u pl1:H

(center (p2 ph0):H (p22 ph0):N)

7u

DELTA3 gron5

d16 groff

(p11:sp1 ph10:r):H

3u

3u pl1:H

(p1 ph0):H (p21 ph3):N

;goto 999

4u

DELTA4 gron6  ;DELTA4=d26-d16-10u-p27

d16 groff

(center

(d19 pl8 p27 ph12:r 3u 3u pl1 p1*2 ph0 3u 3u pl8 p27 ph12:r):H ;d19=p19+8u+d16+de+p1*0.365

(p22 ph0):N

)

;goto 999

4u

DELTA4 gron6

d16 groff

(p21 ph0):N

4u

p19:gp9

999     4u pl12:C2

d16 BLKGRAMP

go=2 ph31 cpd2:C2

d11 do:C2 mc #0 to 2

F1I(iu0, 2)

#ifdef TS2

F1EA(igrad EA & ip4*2 & ip14*2 & ip3*2, id0)

#else

F1EA(calgrad(EA) & calph(ph4, +180) & calph(ph14, +180) & calph(ph3, +180), caldel(d0, +in0))

#endif

1m LOCKH_OFF

exit

ph0=0

ph1=1

ph2=2

ph3=1

ph4=1

ph5=0 0 2 2

ph6=0 0 0 0 2 2 2 2

ph7=0 1

ph10=0

ph11=1

ph12=2

ph13=3

#ifdef HA_DEC_ON

ph14=1

#else

ph14=3

#endif

ph31=0 2