Instructions for using the code for protein structure refinement against SAXS data

Alexander Grishaev,

(alexanderg@intra.niddk.nih.gov)

March 14, 2008

Summary

Processing of the SAXS data for structure refinement consists of preparing the necessary files (data file, form factors file and globbic and bound water corrections) and running the structure refinement iteratively till convergence. Form factor file is calculated once for a particular experimental data set with the program described below and used without change after that. Bound water correction is calculated by fitting the current set of structures to the scattering data using CRYSOL as described below. A default setting for the density of bound water layer of 0.033 e/A3 can be used instead of the iterative optimization. Globbic correction is calculated with the program described below and typically converges in 2-3 cycles of structure refinement. Adjustable parameters such as fitting force constant and the range of the fitted data need to be optimized to maximize the quality of the resulting structures.

These instructions describe the software necessary in order to run Xplor/CNS structure refinement with SAXS data. Some of the details are included in the original JACS paper. Uncompression of the archive will produce the following directories: saxs_cns_compile* (SAXS source code for compilation with CNS), saxs_simul* (Fortran code for generation of the required files, as well as experimental scattering data for malate synthase G and TolR dimer), and saxs_refine* (simulated annealing script and files for running a structure refinement with SAXS data).

A general note: before interpreting SAXS data, you have to convince yourself that your data is essentially an isolated-particle form factor, free from any inter-particle structure factor effects such as inter-particle repulsion or aggregation. You are free to use your own methods for this. I typically do the following:

(1) I make sure there is no concentration dependence of the scattering data at low q (as you decrease the concentration by 50%, 75%, etc). If there is concentration dependence, the data can be extrapolated to zero concentration using at least 5 concentration points going as low as the signal allows – 0.2-0.5 mg/mL on a synchrotron or 2-3 mg/mL on a lab source. In practice, zero concentration extrapolations can be done using D. Svergun’s PRIMUS software. One downside is the signal/noise of the data extrapolated in this way becomes limited by that of the lowest concentration data, which can be very noisy. A possible alternative it to find a concentration (not necessarily the lowest one in the series) which gives data indistinguishable from the lower concentrations, and use it for further analysis. Salt can also be added (100-200 mM) to suppress the electrostatic interaction between the molecules. This may lead to increased aggregation as well, so one has to be careful.

(2) I make sure there is no aggregation in the sample. You can look at the linearity of the Guinier plot (up to q*Rg = 1.3) or make sure that P(r) curve produced by GNOM goes to zero smoothly (close to zero derivative at dmax). When this does not happen and the tail of P(r) just keeps going as dmax is increased, non-specific aggregation is likely. If the amount of dimer is small (say, 10%), the effects are more subtle. The P(r) may still go to zero nicely, but the dmax and Rg are going to be higher than expected from the monomeric form. These effects are easy to detect only when the amount of dimer is large enough to yield parameters that are clearly incompatible with the monomeric ones. If the expected Rg is around 25 Å and Guinier gives 50 Å, you know something is wrong! A word of caution: In some cases the inter-particle interference and aggregation can mask each other, making Rg appear normal at a particular concentration (they produce opposing effects on the low-q data). My preferred method is to record scattering data of a standard with accurately known concentration (could be lysozyme, you’ll have to do zero-concentration extrapolation for it, watch out for radiation damage at synchrotron intensities), accurately measure the concentration of your protein (could be UV-VIS at denaturating conditions), and use the fact that I(q=0) should be proportional to MW2*concentration. You get the proportionality constant from the standard data, then plug in your experimental concentration of the protein and make sure that predicted I(0) agrees with the experimental (Guinier-extrapolated) value. If your experimental value is substantially higher that the predicted value, your sample may be (at least, partially) aggregated. This method is quite sensitive because I(0) is the most precise value you get from the scattering data, but it takes more time. D. Svergun has some guidelines at the web page of the DORIS X33 beam line that are also very useful. The link is http://www.embl-hamburg.de/ExternalInfo/Research/Sax/sample.html

At this point I am assuming that you did your homework and your data is “clean”. I will also assume that the input data is not smeared by wavelength or geometry. It means that this software would be inapplicable to the neutron scattering data (polychromatic radiation). It also means that if you had any geometry smearing, such as due to the slit shape of the incident beam, you corrected for it before using these tools (for example this can be done using GNOM software). In summary, I am assuming that the input data comes from a monochromatic source in pinhole geometry with negligible detector distortions. The software is also inapplicable for very high q data (q> ~1), for which globbic corrections will become very large (even though you are attempting to correct for these, perfect error cancellation becomes impossible for q>~1). I normally make sure that globbic corrections are well below data uncertainty in the entire fitted q range.

The source code in the “MSG” example directory is applicable if you have a protein with a single chain ID and you want the entire chain to be refined against SAXS data. If you have multiple chain IDs and you do not want the SAXS term to operate on all of them, please use the code in the “TolR” example directory. I also have the RNA/DNA code available. Water molecules (residue name HOH) or tensor pseudo-molecules (residue name ANI) will be excluded from the term. The term works with the set of “globs” that matches the one specified in the original JACS paper. If you’d like to use a different specification for globs (for instance, whole-residue globs with which the calculation runs much faster but which introduce larger systematic errors), please see the code in the “NLNX” example directory.

In order to recompile CNS with SAXS code, you’ll need to place saxs.f and saxs.inc into the CNS source directory and copy the saxs-related code into your energy.f and ener.inc (these files are also included so that you could see where the code goes). Then you’ll need to add saxs.obj to the Makefile in the same way that all other entries are done within this file. Finally, you recompile – I run the command “nmake” under Windows from the command line within the source directory. The compilation should produce an executable (in Windows – CNS_solve.exe), which you can take to your working directory. You can also send me an email if you need a pre-compiled CNS executable that includes SAXS code and runs under Windows. Xplor-NIH has this code already included, so you’ll need to follow their instructions for installation.

Before you’ll be able to run the refinement you have to prepare the necessary files. First you’ll need experimental data. It has to be in the 3-column format (leave first line for the description, see the included file msg_a62k_x8.dat). The format is 3 columns: q, I(q) and I(q), same format that is read/produced by data processing/analysis software such as Primus, GNOM, CRYSOL, etc. The 3rd column is the absolute data uncertainty calculated from the number of photons accumulated on each detection channel via Poisson statistics. As discussed in the attached JACS paper, the data has to be sparsened (with respect to the experimental data that is usually highly over-sampled, you keep every Nth data point) in order to speed up structure refinement. How much to sparsen depends on the size of the system. Basically, the sparsened data still has to reproduce all real features of the scattering curve. For smaller proteins such as the 177 a.a. -crystallin, data spacing of q=0.01 A-1 is appropriate. For larger systems such as the 723 a.a. malate synthase G included as an example, the features of the scattering curve are more compressed and a smaller spacing is necessary (see the included file). When sparsening, the points with the minimum and maximum values of q have to be kept in the data set – they determine the resolution range which you do not want to decrease! Once the data is sparsened, the programs in the simul directory have to be ran.

First, you’ll need to run the code of the fsglob_prot.f program to obtain the form factors of each glob at every experimental q value in your sparsened data file. For this you will need: a family of structures (typically your best structures before SAXS data fit, not the random coil/extended strand/etc); atomic form factors in the 4-Gaussian parameterization (formfact.inp, included); solvent volumes displaced by each atom (Vj.inp, included, matches D. Svergun’s values used for CRYSOL); data (your own); file specifying the globs (choose either glob_pdb.inp if atom names are in the PDB convention or glob_cns.inp if they are in the Xplor/CNS convention, both are included), and file specifying residues (choose either res_PDB.inp if atom names are in the PDB convention or res_CNS.inp if they are in the Xplor/CNS convention, both are included). You have to open the fsglob_globf.f file (it is in Fortran) and edit the following: data file name and number of data points. Then you edit the files.inp file (included) to specify how many PDB files you are going to read in (1st line), and file names of each file (the following lines, 4-letter format). Then you recompile the code and run the executable. It will produce the following files: fsglob.out (average globbic form factors, this is the only file you really will need for the subsequent work), fs2glob.out (rms of these values, for your information only), at_scat.out (atomic form factors, for your information only) and glob_dist.out (average and rms of the atomic distances within globs, for your information only, but check that rms values are small and average values match the expected bond lengths and inter-atomic distances otherwise you might have a problem in glob specification or structural geometry).

After this, you’ll need to run the code of the isglob_prot.f program to obtain the globbic correction profile (file name is is_corr_***.dat, see the code) given your current structure. This will have to be re-done after every cycle of structure calculation. After several cycles this correction should converge (the changes in the correction profile from one cycle to the other should become small) The input to the program is: a family of structures; atomic form factors in the 4-Gaussian parameterization (formfact.inp, included); solvent volumes displaced by each atom (Vj.inp, included, matches D. Svergun’s values used for CRYSOL); data (your own); file specifying the globs (choose either glob_PDB.inp if atom names are in the PDB convention or glob_CNS.inp if they are in the Xplor/CNS convention, both are included), file specifying residues (choose either res_PDB.inp if atom names are in the PDB convention or res_CNS.inp if they are in the Xplor/CNS convention, both are included). File names are specified in the source code and can be changed as needed.

Finally, the program reads in the file fsglob.out produced by the fsglob_prot program (see above). The isglob_prot will also read the PDB files from the files.inp file which you already edited for the fsglob_prot program (see above). Running the program will give you an idea of the speed-up associated with the globbic approximation with respect to the all-atom one (calculate the ratio between the elapsed times for the two that it will print out). The single-step calculation time when using Xplor/CNS will be comparable (actually, slightly higher as it will also calculate gradients) to the “globbic” value reported by the islogb_prot program. The program will also report the “R-factor” between the globbic (approximate) and all-atom (exact) scattering curves. This value is in the 10-4-10-3 range for the applications that I have done so far. The program will produce two files: is_at_glob (3 columns with q, I_all-atom(q), I_globbic(q), rewritten after each structure), and is_corr.out (the average and rms values of the ratio between globbic and atomic scattering curves, written after all structures are read). The latter is needed as input for the Xplor/CNS refinement. After every cycle of structure calculation, it is this file that you’ll need to re-generate based on the updated structure(s). The former file (is_at_glob.out) can be used to compare the scattering curve predicted by CRYSOL to the one calculated by isglob_prot which uses the Debye formula. You can extract the 1st and 3rd columns of this file and merge it in PRIMUS with the I(q) predicted by CRYSOL when using drho=0.00 and all other adjustable parameters set to their default values (use 50 harmonics). The predicted curve from CRYSOL is in the first two columns of the *.int file produced by the program if you did not read in the experimental data file. For an easier comparison, you can also read in the experimental file for fitting, but then you have to make sure you turn off all adjustable parameters (including setting drho=0.0) that CRYSOL uses (see description of this procedure below). Then, you’ll need to generate a 2-column data file from the first and last column of the *.fit file produced by CRYSOL and merge it with “all-atom” file from isglob_prot in PRIMUS. The CRYSOL and all-atom curves produced by isglob_prot should be visually indistinguishable (I verified this with CRYSOL 2.5 and no explicit hydrogens option; the later 2.6 version of CRYSOL with explicit hydrogens seems to have some problems). Notice that with the standard (small) globs for the MSG example, I am getting a fairly small globbic correction up to qmax of 0.78 A-1 (see the example files). This should give you an idea of how high are the q values that the software can deal with.

After this is done, you’ll need to compute the surface water layer correction. I do this by running CRYSOL 2.5 (no explicit hydrogens) in a particular way, described below. Basically, I fit the current structure in CRYSOL to the experimental data twice: first, when forcing drho=0.0 and second, when letting it float within its default range. I keep fixed all other adjustable parameters (average atomic radius and total excluded volume) fixed at their default values. This is what I do after I start the program:

Read in the PDB file (option 0)

Order of harmonics: 50

Order of Fibonacci grid: 18

Maximum s value (what D. Svergun’s software calls “s” is the same as my q=4**sin()/): whatever is higher than your experimental qmax

Number of points: press ENTER for default.

Fit the experimental curve: press ENTER for default and select your data file.

Angular units: hopefully it will understand that they are q in A-1 (option 1).

Solvent electron density – press ENTER for default (strictly speaking, you’ll have to reset this value everywhere, including fsglob_prot and isglob_prot if the electron density of your solvent differs significantly from that of the pure H2O - that includes pure D2O). You do not have to worry about this is you just have H2O with up to a 200 mM NaCl, for example.

Plot the data: press ENTER.

Once you see the plot, press ENTER.

Another set of parameters: type Y to over-ride the default.

Minimize again with new limits: type Y to over-ride the default

Minimum radius: type in whatever it shows as the average atomic radius (see in the program output above, should be close to 1.616 A).

Maximum atomic radius: repeat the same value.

Smax in the fitting range: press ENTER for default.

Minimum contrast in the shell: press ENTER for default.

Maximum contrast for the shell: here, you’ll either have to enter 0.0 when you are running the fit with no bound water, or press ENTER for default when you allowing  to vary (thus, you’ll do two separate runs).

Minimum excluded volume: enter the value reported by CRYSOL as Displaced volume (see above)

Maximum excluded volume: re-enter the same value.

Plot the fit: press ENTER.

Once you see the plot, press ENTER.

Another set of parameters: press ENTER to terminate the program.

You will need to save, under different names, the *.fit files that CRYSOL will produce while forcing =0.0 and while setting it free. Then you have to extract the fitted curves produced by two such runs (I use Excel for this). The fitted curve is the last column of the *.fit file. Then I normalize, in Excel, each of these two curves by the fitted values at q=0.0. Be careful here since, in addition to predicting the q=0.0 value (which you will need), CRYSOL will also predict intensities between q=0.0 and the qmin of your data file. So I normalize the curves first and then discard the lines corresponding to these spurious q values. When you will do this, you will have two curves that each start at 1.00 for q=0.0. and go to 10-2-10-4 at the end of your q range. After this you will need to divide the =0.0 curve by the “floating ” curve, point by point, and generate a two-column “bound water correction” file that has q as the first column and the ratio as the second column. If you do this properly, your correction will start at 1.00 at q=0.0 and will eventually reach values larger than 1.0 at the higher end of the q-range. You will not need the q=0.0 line for the final file. It should only contain those q values that are in your experimental (sparsened) data file. The first line of this file should be the one with qmin. You will use this file as input to the Xplor/CNS structure refinement and you’ll need to re-run this procedure after every cycle of structure refinement. Keep an eye on the fitted drho value. As it converges, your surface water correction will converge as well. If your structure was over-expanded to begin with, you may see fitted  starting at 0.0 and increasing to higher values after subsequent rounds of structure refinement. In this case, you will also see a decrease in the gyration radius. The final bound layer density should be close to 1.1o. When starting from an over-expanded model (and, thus from =0) one often ends up with lower final values for . In these cases one can try fixing the  at 1.1o from the beginning.

Now you can run the structure refinement. The example of the SAXS statement is shown in the included CNS input script file. The main adjustable settings are the target I(0) value and the force constant for the SAXS term. I(0) is extremely important because, unlike CRYSOL, I do not use a variable scaling factor to best-match the measured and the calculated data within the entire q-range. Instead, I(0) is fixed and the gradient will have to push the calculated scattering curve either up or down, to match the experimental data. I(0) value can be obtained from the Guinier fit, but the P(r) derived value is equally acceptable and should be generally compatible with Guinier results. Force constant can be kept around 25-50 and should not be higher than 100. At the end of each calculation, I analyze the resulting structures to obtain an updated value of delta rho (and the corresponding bound water correction) and the updated globbic correction. Usually, 5-7 cycles of refinement are sufficient for these two corrections to converge. I also check that CRYSOL fits are at least as good (they should be better) than the values reported by the SAXS refinement module. One thing that should be kept in mind is that in cases when SAXS data is compressing the structure, it should not lead to an increase in the inter-atomic clash statistics. Since NMR refinements are commonly done with repulsive-only non-bonded interactions and vdW radii scaled down to ~0.8, I would strongly recommend to monitor clash scores using something like the MolProbity server, and, if this score is going above 10, to increase vdW radii multiplier (up to 0.85, in 0.01 steps). In addition, I also recommend optimization of both fitting force constant and the qmax of the fitting data by validating the structural quality whenever possible. Prediction of the scattering data above the fitted qmax and comparison with the experimental data can be used, in addition to monitoring of any other indicator of structural quality. Initial qmax can be in the range of 0.2-0.3 A-1.

A different mode of running refinement against SAXS data is by approximating an exact average of molecular orientations with a discrete sum over the set of equi-distant vectors. This relies on calculation of the complex scattering amplitude and its angular average instead of the Debye formula an does not require the use of the globbic correction factors. The setup is illustrated in the approximate_angular_averaging example directory. The approach requires calculation of the form factors for the heavy atoms int eh macromolecule and surface water corrections using the procedure described above.